Use of a Fire Extinguisher Sample

As fire emergencies can occur without warning it is thus very essential to be prepared for a fire emergency. One of the primary things that all individuals should know is how to use a fire extinguisher to fight small fires and limit their reach before they become too big and engulf a whole area. In addition, fire extinguishers are like the first line of defence and can be very efficient too. Therefore, it is very important that you know exactly how to use a fire extinguisher.

There are several different types of fire extinguishers that work on a variety of principles. However, all of them essentially work in the same way.  You need to be proficient in using a fire extinguisher as you may need to use it on a very short notice in a quick manner during an emergency.

The first thing to do is to read the instructions. You will not have the time to read the fine print when you most need it in an emergency, so it is important that you are prepared beforehand. Essentially, you may like to follow the PASS principle, which is simple to remember and should be kept in mind while using a fire extinguisher.

- Pull: The pin at the top of the fire extinguisher should be pulled to release the locking mechanism and make the fire extinguisher ready for use.

- Aim: The fire extinguishing action should be aimed at the base where the fire is present and not at the flames, which are merely manifestations of the underlying cause.

- Squeeze: The lever needs to be squeezed slowly to release the extinguishing agent. Without this, the extinguishing action will simply stop.

- Sweep: The extinguisher should be moved in a sideways manner or front to back in a sweeping motion.

These should be kept in mind before using a fire extinguisher. It is also important that you be careful while using a fire extinguisher and maintain a safe distance from  the fire. You should also be able to assess the fire and the type of fire extinguishe     r to make sure the fire extinguisher will provide the reduction needed.                  Using this understanding of how to use a fire extinguisher, you can now be in a much better position to fight fires in case of an emergency.

NOTE: Give the fire extinguisher a quick test squirt before using on the fire to ensure it is working.

52

MOVING PEOPLE Industry Advisory Bus Fire Evacuation Protocol Advisory